HYDROTECH® LIQUID MEMBRANE 7000 (LM7000)

LONG FORM SPECIFICATION

Section – 071416 - Cold Liquid-Applied Waterproofing

PART I   GENERAL

1.01	SUMMARY

- Note To Specifier. This specification serves as a guideline and should be adapted to suit the requirements of each project. It is prepared in accordance with the CSI three-part section format and shall be included as a separate section under DIVISION 7 - Thermal and Moisture Protection. Improvements and other changes to the contents shall be made only with the written approval of the architect.

1.02	RELATED SECTIONS (Note to Specifier: Edit to project requirements)

A.	   DIVISION 2 - Sitework [Section 02500/02870] - Paving/Site Furnishings

B.	   DIVISION 3 - Concrete [Section 03300] - Roof Deck Surface/Substrate

The coordination of this section is necessary to facilitate the successful installation               of the waterproofing membrane.

Cast in Place Concrete/Composite Deck

1.	Strength/density: minimum  2,500 psi (17,235 kPa) compressive strength

minimum 115 pcf (1842 kg/m3) density

2.	Finish:	 Broom finish or equivalent similar to ICRI CSP 3 to 5. Steel troweled finish is not desirable.

3.	Concrete Hydration (Cure):

a.	Method of Cure:  Water cure, wet coverings, paper sheets, plastic sheets, or approved liquid curing compound (sodium silicate preferred).

b.	Duration of Cure/Dry:

i.	Structural Weight Concrete:  recommend 28 days, minimum 14 days, prior to application of the membrane.

ii.	Lightweight Structural Concrete:  recommend 60 days, minimum 28 days, prior to application of membrane. Venting of the deck from the underside is recommended to facilitate drying.

iii.	The above minimum cure/dry times are recommended based upon basic concrete fundamentals and experience. Depending on conditions (i.e., ambient temperature, humidity) the concrete may be dry enough to receive application of the membrane in less than the 14 day minimum recommendation. Consult Sika/Hydrotech for specifics when less than the minimum is desired.

- Form Release Agents: Contact Sika/Hydrotech

*REFER TO SECTION 3.02 PREPARATION, FOR ADDITIONAL SUBSTRATE TYPES*

C.     Other Related Sections:

    - Section 035000 – Cast Decks and Underlayment

    - Section 053000 – Metal Decking

    - Section 061510 – Wood Decking

    - Section 076000 – Flashing and Sheet

    - Section 077200 – Roof Accessories

    - Section 079200 – Joint Sealants

    - Section 220000 – Plumbing

    - Section 323300 – Site Furnishings

    - Section 328000 – Irrigation

    - Section 329300 – Plants

    - Section 329400 – Planting Accessories

    - Section 330000 – Utilities

1.03	REFERENCES

- American Society for Testing and Materials (ASTM).

- International Concrete Repair Institute (ICRI) Concrete Surface Profile (CSP) Scale

C.	Hydrotech® Liquid Membrane 7000 Technical Data Sheet.

D.	Hydrotech® Liquid Membrane 7000 System Guideline Options

1.04	SYSTEM DESCRIPTION

- Furnish and install a completed, cold liquid-applied, bitumen modified polyurethane waterproofing membrane and assembly on structural approved substrate.

1.05	SUBMITTALS

  - QUALITY ASSURANCE

- The Contractor shall demonstrate qualifications to perform the work of this Section      by submitting the following documentation:

1.	Certification or license by the membrane manufacturer as a locally based,

authorized applicator of the product the installer intends to use, for a minimum

of 3 years

2.	List of at least three (3) projects, satisfactorily completed within the past five (3) years, of similar scope and complexity to this project. Previous experience submittal shall correspond to specific membrane system proposed for use by applicator.

B.	Pre-Construction Conferences. The manufacturer shall meet with the necessary   parties at the jobsite to review and discuss project conditions as it relates to the integrity of the roofing assembly.

1.07	DELIVERY, STORAGE AND HANDLING

- Deliver materials in original unopened containers of packaging, clearly labeled with manufacturer's name, brand name, instructions for use, and all identifying numbers.

- Materials shall be stored in a neat and safe manner, not to exceed the allowable structural capacity of the storage area.

C.	Store materials in a clean, dry area protected from water and direct sunlight in temperatures between 60F (15C) and 90F (30C).

  - PROJECT CONDITIONS

- Application of membrane shall not proceed during inclement weather. All surfaces to receive the membrane shall be free of water, dew, frost, snow, ice, and foreign matter.

- As the membrane requires a cure time, application shall not begin when there is a threat of inclement weather.

- Application of cold liquid applied membrane shall proceed while the air temperature shall be above 41F (5C) and maximum of 95F (35C). The substrate shall be a minimum of 5 degrees above the dew point temperature.

- Preparation and application of membrane shall take place in well-ventilated areas.

- General contractor shall ensure adequate protection during installation and curing of the waterproofing assembly.

- Waterproofing Membrane:

- Waterproofing membrane is not intended to be exposed or in contact with a constant    temperature below -25°F (-31.7°C) or in excess of 200°F (93.3°C).

- Specified waterproofing membrane is VOC compliant. Consult container, packaging labels, and Safety Data Sheets (SDS) for specific safety information.

- Some low molecular weight alcohols can soften. Any exposure to foreign materials or chemical discharges shall be reported to membrane manufacturer for evaluation to determine any impact on the waterproof membrane assembly performance prior to warranty issuance.

- Contractor shall ensure adequate protection during installation of the waterproofing system.

1.09	WARRANTY

A.	Upon completion of the work, the contractor shall supply the owner with a single-source warranty of U.S. origin direct from the manufacturer.

B.	Warranties varies in terms and requirements. CONTACT Hydrotech for specific warranty terms and conditions to meet the specific project requirements.

- Warranties available from the manufacturer: (Note to Specifier: Edit to project requirements)

Hydrotech® Liquid Membrane 7000 (LM7000)

1.	Material Warranty;

Duration: 5-, 10-, 15-, 20-year

2.	Labor and Material Warranty;

Duration: 5-, 10-, 15-, 20-year

PART II

2.01	GENERAL

A.	Refer to Section 1.03, SYSTEM DESCRIPTION. All components shall be obtained as a single-source from the membrane supplier to ensure total system compatibility and integrity. Hydrotech® Liquid Membrane 7000 – available in both horizontal and vertical grades.

Manufacturer:

Sika/Hydrotech®

100 Dan Road

Canton, Massachusetts 02021

1.888.509.3350

Web Site: www.hydrotechusa.com

2.02	MATERIALS

- Membrane: Hydrotech® Liquid Membrane 7000 (LM7000) meeting ASTM standard and other pertinent physical properties

| PROPERTY | TEST METHOD | ### REQUIREMENT |
| --- | --- | --- |

Die C: Tear Resistance (psi)	ASTM D-624 			150 ± 50

Elongation at Break (%) 	ASTM D-412				450 ± 50

Tensile Strength (psi) 		ASTM D-412				850 ± 50

Hardness (Shore A) 		ASTM D-2240: 			60 ± 5

Total Volume Solids (%)	 ASTM D-2697: 			89 ± 2

Total Weight Solids (%) 	ASTM D-236: 			95 ± 2

81: VOCs (g/l) 			ASTM D-2369			78

Permeability to water vapor (perms) ASTM D-751 			0.06

Specific Gravity (lbs/gal) 		                 			8.30

B. 	Reinforcement: Hydrotech® Flex Flash F

- Spunbonded polyester fabric (standard duty) reinforcing sheet.

| PROPERTY | TEST METHOD | ### REQUIREMENT |
| --- | --- | --- |

UNIT WEIGHT (oz/sq yd) 		ASTM D1910 	1.35

% ELONGATION (to break) 		ASTM D2523 	42

TEAR STRENGTH (lb)		 	ASTM D2263	 8

BREAKING STRENGTH (lb) 		ASTM D2523 	25

DE MATIA FLEX CYCLES 		ASTM D813 		100,000

THICKNESS (mils) 			ASTM D1777 	9.8

C. 	Fillet Bead and Penetration Sealant

- Sikaflex sealant including Sikaflex 1a and 2c NS EZ Mix by Sika Corp., one- and two-part polyurethane sealants suitable for fillet bead transition compound to be applied prior to the installation of the membrane system at changes in substrate direction and cracks in the substrate and penetrations of the waterproofing system.

D.	Primers:

- Hydrotech® HydroSeal 1K Epoxy Primer:

- Low odor, low VOC formulation

- Compatible with most common substrates – concrete, masonry, wood, roof boards, most metals

- Sikadur®-22 Lo-Mod FS

- Fast setting epoxy resin binder

- Compatible with – concrete and masonry substrates.

- Sikalastic® FTP LoVOC.

- Low odor, low VOC formulation

- Used for potable water applications

- Protection Sheets and Drainage mat

- Protection Sheets: Asphaltic based protection sheet can be used to provide additional protection to the installed and cured membrane from the installation of the overburden.

  - Hydrotech® Hydroflex® 30

    - 80mil smooth modified

  - Hydrotech® Hydrocap® 90FR

    - 90mil White Granulated or Smooth Fire Rated Sheet

  - Hydrotech® Hydrocap® 160FR

    - 160mil White Granulated Fire Rated Sheet

  - Hydrotech® Hydroflex® RBII

    - 160mil Granulated Sheet with Root Growth Inhibitor

- Drain Mat: Dimpled core polystyrene drainage mat with a non-woven polypropylene filter fabric bonded to the topside of the mat, and a film bonded to the underside of the mat.

  - Hydrotech® Hydrodrain® 420.

| PROPERTY | TEST METHOD | ### REQUIREMENT |
| --- | --- | --- |

Thickness	 		ASTM D1777	 	.40 in

Fabric Flow 			ASTM D4491	 	140 gpm/ft2

Fabric “Q” @ 3600psf (core)	ASTM D4716		21 gpm/ft width

U.V. Resistance		ASTM D-4355		Fully Stabilized

Apparent Opening Size (EOS)    CW-02215		70 (.212mm)

Grab Strength 			ASTM D4632		100 lbs.

- Extruded Polystyrene Insulation (if required)

- Extruded polystyrene foam board insulation, either flat stock or tapered, meeting the requirements  of ASTM 578 Type VI (40 psi – stone ballast or pavers in sand bed/direct application), Type VII (60 psi – concrete pavers on pedestals), or Type V (100 psi – superimposed loads). Insulation shall be DuPont Styrofoam® XPS, supplied by Hydrotech®.

- Miscellaneous

      - Hydrotech® Recoat Primer: two component, high solids, aromatic, polyurethane primer.

        - Used to reactivate applied and cured LM7000

      - Hydrotech® Flexitape Heavy:

        - 3” woven nylon mesh for reinforcing and detailing roofing and waterproofing condition

PART III

3.01   	INSPECTION

- The contractor shall examine every surface scheduled to receive the waterproofing assembly to verify it is acceptable and proper for the application of the membrane.

- The contractor shall not proceed with the installation of the membrane until all defects have been corrected.

3.02	PREPARATION

A.	All surfaces shall be dry, smooth, free of depressions, voids, protrusions, clean and free of unapproved curing compounds, form release agents, and other surface contaminants.

(Note to Specifier: Edit to project requirements)

1.	Cast in-place concrete/Composite concrete deck

- Poured in place concrete shall be monolithic, smooth, free of voids, spalled areas, laitance, honeycombs, and sharp protrusions.

- Refer to Section 1.02 of this specification, Division 3.

2.	Precast concrete decks

a.	Precast units shall be mechanically secured to minimize differential movement and all joints between units shall be grouted or caulked.

    - Precast concrete shall have a maximum moisture content of six (6) percent or 75% relative humidity.

3.     Plywood decks

- Minimum thickness of 1/2" (12.7 mm) shall be required with adequate   structural support.

- Tongue and groove joint edges shall be required.

    - Adequate number and type of fasteners shall be used to comply with applicable codes and maintain structural integrity.

    - Fasteners must be screw type, no nails. Fasteners shall be secured to the structure with screw-type fasteners

4.	Metal Deck with roof substrate board

a.	Roof substrate board shall be fire rated approved roof board attached to minimum 22 gauge steel decking with adequate structural support.

- Minimum 5/8 inch thick substrate board shall be used directly to metal deck.

- Minimum 1/2 inch thick substrate board shall be used over insulation.

- Flat fill and sloped roof insulation shall be installed in accordance with layout indicated on shop drawings and insulation board manufacturer’s minimum requirements.

- Adequate number and type of fasteners shall be used to comply with board manufacturers minimum requirements and applicable codes and maintain structural integrity.

- A minimum of 10 fasteners per full-size roof board shall be used.

- Appropriate roof adhesive shall be used in accordance with adhesive manufacturer requirements to comply with applicable codes and maintain structural integrity.

- Size and spacing of adhesive beads shall be as required by adhesive manufacturer.

- Roof substrate boards shall be installed such that all edge and end joints are supported by metal deck ribs and/or appropriate blocking.

- Roof substrate board end joints of adjacent lengths shall be staggered.

- Where required, a suitable vapor barrier membrane shall be applied as determined by the project design professional prior to installation of the roof substrate board and/or insulation.

- Roof substrate board edges and ends shall be butt loosely in typical installations. Long, uninterrupted runs (greater than 200 feet) of roof substrate board may require slight gapping due to higher temperature gain. Gapping shall not exceed 3/16 inch and all such gaps shall be filled flush with the surface of the roof board with an appropriate sealant. CONTACT Sika/Hydrotech for specifics.

- Roof substrate board shall be cut to size using a sharp utility knife and straightedge. The surface of the roof substrate board shall be scored with the utility knife and the board bent up sharply towards the score cut. A keyhole-type drywall saw shall be used for penetration cutouts and radii. A low rpm circular saw shall be used for 5/8 inch thick roof board.

B.	Substrate cleaning

1.	Thoroughly sweep the substrate which is to receive the roof membrane.

2.	Substrate shall be blown clean using an air compressor to remove any remaining loose debris.

3.03	MEMBRANE INSTALLATION

A.	Primer Application

- All substrates shall be primed as required by Hydrotech. Primer shall be required on all substrates:

a.	Hydrotech® HydroSeal 1K Epoxy Primer is used as a primer for LM7000 applied over Hydrotech® Monolithic Membrane 6125® (MM6125), concrete, masonry, wood, metal, and other substrates as recommended applied at a rate of 100-250 sf/gal.

b.	Sikadur-22 Lo-Mod FS is used as a faster cure primer for LM7000 applied over concrete, masonry, wood, metal, and other substrates as recommended at a rate of 160 sqft/gal.

- Sikalastic FTP LoVOC Primer must be used for potable water applications Apply a single coat of Sikalastic FTP LoVOC Primer at rate of 175 sf/gal.

B. 	Fillet Bead and Penetration Sealant

1.	Sikaflex 1a and 2c NS EZ Mix by Sika Corp., one- and two-part polyurethane sealants suitable for fillet bead transition compound to be applied prior to the installation of the membrane system at changes in substrate direction, sealing reglet terminations, cracks in the substrate and penetrations of the waterproofing system.

C.	Reinforcement and Details

- Reinforcement of cracks, plywood joints/seams, coverboard joints/seams, transitions, dissimilar material:

- For all locations where the specified membrane system is to be applied directly to the substrate surface, reinforcement of cracks and joints prior to applying the specified membrane system is required.

- For all horizontal-to-vertical transitions, provide a Sikaflex polyurethane sealant cant or LM7000 V strip coat.

- Install 6” wide strip of Flex-Flash F into 20 mil of LM7000 H or V and cover with another 20 mils of LM7000 H or V.

- Alternative Method for Plywood/Coverboard Joints: Apply 3” or 6” Flexitape over primed substrate.

- Detailing of Drains

  - Clean, prepare and prime surfaces ready to receive membrane applications. Block drain bowl opening to avoid waterproofing material from entering the drainage system.

  - Remove strainer baskets and clamping rings from the drain bowl assembly. Temporarily replace the bolts back into assembly to avoid miss-alignment of connections after membrane applications are completed.

  - Detail the dissimilar material transitions with reinforcement and LM7000

  - Extend LM7000 directly into the throat of the prepared drain.

- Penetrations

  - Clean, prepare and prime surfaces ready to receive membrane. Ensure that penetrations are secured to prevent movement.

  - Apply a cant bead of Sikaflex sealant or strip coat of LM7000 at the base of penetrations.

  - Detail dissimilar material transitions with reinforcement and LM7000

  - Apply LM7000 V vertically up the penetration 6-8 inches.

D.	Membrane Application

- Install waterproofing membrane system in accordance with current technical data sheets and in accordance with warranty guideline requirements after the primer has cured.

- Apply base coat of LM7000 H to horizontal deck and LM7000 V to vertical wall surfaces with notched squeegee, notched trowel, or 1/2 inch – 3/4 inch phenolic core roller to achieve a continuous and uniform minimum wet film thicknesses of 60 mils..

- Apply top coat of LM7000 (V or H) with a notched squeegee, notched trowel, or 1/2 inch – 3/4 inch phenolic core roller to achieve a continuous and uniform minimum wet film thickness of 60 mils.

- Top coat must be installed within 16 hours from the start of application of the first coat. If the 16-hour window recoat time is exceeded, but less than 72 hours, providing the surface is not exposed to significant dirt or other contamination, it is necessary to solvent wipe with xylene, acetone, or other approved solvent, and prime with Hydrotech®

- Hydrotech® Recoat Primer. Beyond 72 hours from the start of the previous applications of LM7000 and/or if the surface is subjected to significant dirt or contamination, it is necessary to clean, abrade, solvent wipe with xylene, acetone, or other approved solvent, and prime with Hydrotech® Recoat Primer.

- Install all flashings in accordance with manufacturer’s construction details.

  - MEMBRANE INTEGRITY TEST

      - Prior to the installation of any surfacing, the completed membrane shall be leak tested by means of electronic testing or by ponding water at a minimum depth of 2” (50.8 mm)  for a period of 48 hours to check the integrity of the membrane installation.

1. VERIFY that the structure can support the dead load weight of a water test before testing.

2. If leaks should occur, the water shall be drained completely, and the membrane installation repaired, then retested.

- In the event of excessive damage to the membrane assembly, electronic breach detection testing shall be required prior to the placement of overburden materials.

  - SURFACING INSTALLATION (Note to Specifier: Edit to project requirements and review LM7000 “System Guideline Options” for specific requirements)

- Tank liners do not require any protection sheet or drainage mats after the proper application of LM7000 membrane assembly.

- Vertical below grade application will require the proper use and installation of Hydroflex 30 and/or Hydrodrain 420 (depending on the requested warranty terms).

- Split slab application will require the proper use and installation of Hydroflex 30, Hydrocap 90FR, Hydrocap 160FR, and/or Hydrodrain 420 (depending on the requested warranty terms).

- Garden roof assemblies will require the proper use and installation of Hydroflex RBII

- Concrete pavers on pedestals will require the proper use and installation of Hydroflex 30, Hydrocap 90FR, or Hydrocap 160FR.

- Pavers or tiles in setting bed or thin set will require an additional skim coat of LM7000 with aggregate broadcasted into it to rejection. Skim coat to be installed at an application rate of 1 gal/100 sqft (~15 mil WFT). Aggregate to be round river, kiln dried sand and broadcasted to rejection into the skim coat of LM7000 while still wet. After curing broom and vacuum any loose aggregate.

3.06	PROTECTION

- Upon completion of new work (including all associated work) appropriate procedures for surveillance and protection of finished work during remainder of construction period shall 	be instituted. Areas where membrane has been installed shall be protected until final wearing surface is installed.

End of Section

The preceding specifications are provided by Sika Corporation as a guide for informational purposes only and are not intended to replace sound engineering practice and judgment and shall not be relied upon for that purpose. Sika Corporation makes no warranty of any kind, either express or implied, as to the accuracy, completeness or the contents of these guide specifications. Sika Corporation assumes no liability with respect to the provision or use of these guide specifications, nor shall any legal relationship be created by, or arise from, the provision of such specifications  SIKA SHALL NOT BE RESPONSIBLE UNDER ANY LEGAL THEORY TO ANY THIRD PARTY FOR ANY DIRECT OR CONSEQUENTIAL DAMAGES OF ANY KIND ARISING FROM THE USE OF THESE GUIDE SPECIFICATIONS.  The specifier, architect, engineer or design professional or contractor for a particular project bears the sole responsibility for the preparation and approval of the specifications and determining their suitability for a particular project or application.

Prior to each use of any Sika product, the user shall always read and follow the warnings and instructions on the product's most current Technical Data Sheet, product label and Material Safety Data Sheet which are available at www.usa.sika.com/roofing or www.hydrotechusa.com or by calling (800) 933-7452.  Nothing contained in any Sika materials relieves the user of the obligation to read and follow the warnings and instructions for each Sika product as set forth in the current Technical Data Sheet, product label, and Material Safety Data Sheet prior to product use.